## Slide 2
Program Sponsor

## Slide 3
Program Sponsor

## Slide 4: Slides, External resources & registration can be found at www.solonchamber.com/slides
Materials will also be distributed by email after the program!

## Slide 5
October 11th
Workplace Fire Safety with Brian DiRocco, Solon Fire Rescue
November 8th
OSHA Recordkeeping with Scott Turner, Ohio OSHA

## Slide 11: Dolly Parton’s Imagination Library of Ohio
80% of a child’s brain is developed by the time they are three years old.
Vocabulary development by age three has been found to predict achievement by third grade.
Children with as few as 25 books in the home complete an average of two or more years of school than those with no books.
Notes: Early literacy skills are critical to a child’s success. As a state agency, BWC is committed to the Governor’s Children’s Initiative to contribute to the goal of improved reading for Ohio’s children.
Dolly Parton’s Imagination Library focuses on putting more books in the homes of children under the age of five and increasing the likelihood of a child who’s ready to take on kindergarten and develop a love for learning.
Children up to five years old are eligible to receive one age-appropriate book per month at no cost to the family. The books are mailed directly to the child’s home.

## Slide 12: Eligibility
All children from 0-5 years old in Ohio
One, age-appropriate book at no cost to the family
Mailed directly once a month to the child’s home
Notes: Children up to five years old are eligible to receive one age-appropriate book per month at no cost to the family. The books are mailed directly to the child’s home.

## Slide 13: Signing up
Go to ohioimaginationlibrary.org
Information necessary to enroll includes:
Child’s name, address, and birthday
Parent’s name and contact information, specifically email
Notes: Visit ohio imagination library dot org (or click on this QR code) to enroll and be prepared to provide the child’s name, address, birthday, parent’s name and email address

## Slide 14: Important Dates – Public Employers
Sept. 29
One Claim Program (OCP) training requirement deadline
Drug-Free Safety Program (DFSP) annual report due
EM Cap safety training requirement deadline

## Slide 15: Employer Webinars
Top five items to successfully manage your workers’ compensation policy
Important dates
Monthly safety tip
Thursday, Sept. 28, 11:30 AM

## Slide 16: Webinars
Each individual attending should register in the BWC Learning Center
Virtual Training Class | Date | Time
Firefighter Exposure to Environmental Elements Grant (FEEEG) overview | Sept. 19, 2023 | 1:00 p.m. – 2:00 p.m.
Heroin: It’s Closer Than You Think | Oct. 3, 2023 | 10:00 a.m. – 11:00 a.m.

## Slide 17: Virtual Classes
Each individual attending should register in the BWC Learning Center
Virtual Training Class | Date | Time
High Hazard Focus Four Inspections: Be Prepared When PERRP Shows Up at Your Doorstep (VTC) | Sept. 13, 2023 | 9 a.m. – 12:30 p.m.
Safety Series Workshop Module 2: Ergonomics, Accident Analysis & Hazard Assessment Basics | Sept. 21, 2023 | 9:30 a.m. – 1 p.m.
Bloodborne Pathogens (VTC)* | Oct. 10, 2023 | 9:30 a.m. – 1 p.m.

## Slide 18: In-Person Classes
Each individual attending should register in the BWC Learning Center
Date | Course Name | Time
Sept. 20 | Machine guarding - Youngstown | 8:30 a.m. – 12:15 p.m.

## Slide 19: Grants Program
Funding opportunities are once again available for our special safety grant programs.
Trench Safety Grant. Available only to Ohio employers that perform trenching and excavating.
Firefighter Exposure to Environmental Elements Grant combats firefighter cancer risk.
School Safety and Security Grant provides assistance to Ohio employers with ensuring the safety of their staff who instruct children throughout the state.

## Slide 20: Safety Intervention grant (SIG)
Purchase equipment to eliminate or significantly reduce hazards in the workplace.
  3:1 match up to $40,000
  Renewable every 3 years
  One year case study/annual report
  In business for one year

## Slide 21: Safety Intervention grant (SIG) Changes
Powered cots without a loading system.
Vehicle lifts outside of the vehicle service industry.
Crash attenuators intended to protect employees.
Food portioning equipment, except for deli slicers.
Oil filtration systems for fryers.
Truck/trailer restraints or dock leveling systems
Wire/cable stripping equipment.
Seated equipment that’s primary purpose is not to move or transport people, equipment, or supplies.

## Slide 23: Our New 2023-24 Apparel Catalog In Grab Your Copy Before You Leave Today

## Slide 24: Special Offer
Let us out fit your company with Corporate or Safety Apparel and Receive a Cleveland Guardians US SafetyGear Eddie Bauer ¼ Zip Free

## Slide 25: We Carry The Following Apparel Brands

## Slide 26: Announcing another US SafetyGear Location at 7516 Tyler Blvd Mentor Ohio

## Slide 27: From Streetsboro to Mentor we have you covered with the Brands of Safety Footwear you want

## Slide 28: Company Services We Provide
In Plant Stores operated by USSG Employees
Promotional Items and Apparel
Marketing and Graphics Services
Customer Specific Portals
Promotional Event Management

## Slide 29: Reebok, Timberland, Carolinas, Double H Ladies & Mens Safety/Composite Toe Shoe
Safety Shoe Trailer Service Book Now for 2024

## Slide 30: Ok…Tarry always gives away free stuff!!!!! Drop your Card in the box to Win a Guardians USSG Fleece Jacket

## Slide 32: About Mamsys
Digital Enabling IT Services, Consulting & Staffing
HQ in Solon, Ohio, US. Operations in US, EU, UK and India.
10+ years of successful execution
Mature Processes, High customer satisfaction, over 80% repeat customers
Global team of industry veterans and experts
Experience in Enterprise solutions for clients including Fortune 500 companies
$1 Billion+ Business value delivered
Strong customer focused delivery and proven delivery processes & team
Alliances & Partnerships
Trusted integration partners for leading product companies
People
Great mix of experience and enthusiasm
Mining expertise globally. Travel ready team.
We understand business. RoI > Everything
Over 200 geniuses, 90% offshore in India
Philosophy
Human Centric Approach
Work smart but go deep. Get Certified.
Documentation! Tools! Techniques!
Faster, Cheaper - Automate!

## Slide 33: Service Portfolio
Consulting Services
Staffing & Recruitment Services
Digital Services
eCommerce & Mobile Apps
AI / ML & Data Engineering
Cloud & Infrastructure Services
Business & Enterprise Architecture Consulting
IT Strategy & Governance, Program Management Office
Outsourcing, Offshoring, TCO Optimization
Critical Apps, Greenfield Initiatives
eCommerce Solution, Implementation, Development
iOS / Android development for tablet, phone, & watch
Concept Design, UI-UX Design
Features like Chat, Photo. Gallery, Location, Calendar, etc
Focus on IT for Quality & Right Talent hiring
Digitized Process & SLA driven governance
Contractors with relevant visa for hiring
Hiring across roles, domains & technologies
Generative AI Applications using LLM
Predictive AI using custom AI-ML models
Big Data Analytics with Hadoop / Spark frameworks
Computer Vision based solutions for Quality Assurance
Data Center Operations & Support
Cloud Strategy & Guided adoption
Remote Managed Services offerings
Reliable, Scalable Services across the globe
Managed Application Services, Build-Operate-Transfer BOT
Microsoft Technologies, MS Dynamics, Power BI
IT Roadmap, ADM, Micro-services, Legacy Modernization
Dev Ops, Process Automation, Quality Assurance

## Slide 34: Case Studies
Managing IT Landscape & Roadmap
Digital Transformation with SAP S/4 Hana
AI Enabled Business Solution
Mobile Application Development
Legacy Application Modernisation
Some Clients
Helped medical devices company significantly reduce energy consumption & lower TCO by 20% YoY for 3 years in a row through Process Optimization, Cloud adoption and Opti-shoring model
path breaking AI powered platform to augment photography booking experience, connecting users to photographers in an Uber-like experience. A one-of-it’s kind application for the photography industry.
Implementation of SAP solution for a retail fashion brand, resulted in 40% cost saving, improved decision-making. Enabled the company to handle growth with competitiveness.
Migration of multiple 30 year old systems for managing core manufacturing operations and quality checks into a modern web based architecture.
Helped client win USD 30 Million lawsuit within first 6 months of implementing AI based No-Fault Claims Analytics system for an automotive insurance company

## Slide 35
Ph: +1 (440) 485-9012
Thank You
MAMSYS is Cleveland Area RSB, MBE, FBS, LPE Enterprises and ISO 9001:2015 Certified
saurabh@mamsys.com
madhuri@mamsys.com
www.mamsys.com

## Slide 36: Electrical Safety Arc Flash and Shock Hazards
2000 Auburn Drive, Suite 200 Beachwood, Ohio 44122
P: 877-711-5989 F: 866-794-5756
www.sotaris.com safety@sotaris.com

## Slide 37: Presenter: Andrew Johnson, CSP
Safety Consultant with Sotaris, LLP AWJ@SOTARIS.COM 440-479-1736
Discussion Points:
General Requirements
Basic Electrical Safety
Hazards of exposed wires
Switchgear Safety
Understanding a basic electrical panel
Examples (pictures) of electrical hazards
What causes arc flash?
Training Requirements
Arc Flash Surveys/Study Requirements
Labeling Requirements
PPE/Clothing Requirements and Demo
Qualified vs. Unqualified
Where to start
Lockout Basic Info
Breaker LOTO

## Slide 38: Electrical Accidents
Caused by a combination of three factors:
Unsafe equipment and/or installation,
Workplaces made unsafe by the environment, and/or
Unsafe work practices.
Survey of 1,200 Electricians
97% experienced a shock
26% had witnessed an injury
58% felt they were exposed to an injury every day
Need to Change of Attitude
It’s only 120 Volts…I’m experienced so I won’t get hurt.
I will just be in there a second
I am not going to “touch” anything
Arc Flash Incidents Shock Incidents

## Slide 39: Definitions - NFPA 70E  Arc Flash Hazard. A dangerous condition associated with the possible release of energy caused by an electric arc.
 Shock Hazard. A dangerous condition associated with the possible release of energy caused by contact or approach to energized electrical conductors or circuit parts.

## Slide 40: Regulations and Standards
OSHA (Occupational Safety and Health Administration) …WHAT
  1910.132 Personal Protective Equipment
  1910.147 The Control of Hazardous Energy (Lockout)
  1910 Subpart S – Electrical
  1910.269 - Electric Power Generation, Transmission, and Distribution
  1926 Subpart V - Electric Power Transmission and Distribution
…HOW
NFPA (National Fire Protection Association)
  NFPA 70E: Standard for Electrical Safety in the Workplace 2024
  NFPA 70B: Recommended Practice for Electrical Equipment Maintenance 2023
  NFPA 70: National Electrical Code 2023
 Numerous Others…77, 78, 79, 110, 111…
IEEE (Institute of Electrical and Electronics Engineers)
  1584-2018 Guide for Performing Arc Flash Hazard Calcs

## Slide 41: Qualified Person
Shall be trained and knowledgeable of:
construction and operation of equipment or a specific work method,
be trained to recognize and avoid electrical hazards that might be present with the equipment or work method.
proper use of the special precautionary techniques;
PPE including arc flash suit; insulating and shielding materials; and insulated tools and test equipment
A person can be considered qualified for certain
equipment & methods but still unqualified for others.
Must ensure that each employee is complying with the safety-related work practices required by supervision or inspections conducted on at least an annual basis.

## Slide 42: Qualified Persons Training
If working within the limited approach boundary of exposed energized electrical conductors and circuit parts operating at 50 volts or more shall, at a minimum, be additionally trained in all of the following:
Skills and techniques to distinguish exposed energized electrical parts from other parts of electrical equipment
Skills and techniques to determine the nominal voltage of exposed energized electrical conductors and circuit parts
Approach (Shock) distances specified in Table 130.4(E)(a) and Table 130.4(E)(b) and the corresponding voltages to which the qualified person will be exposed.
Decision-making process necessary to determine the degree and extent of the hazard and the personal protective equipment and job planning necessary to perform the task safely

## Slide 43: Qualified Persons Training
Employees shall be trained to select an appropriate test instrument and shall demonstrate how to use a device to verify the absence of voltage, including interpreting indications provided by the device.
The training shall include information that enables the employee to understand all limitations of each test instrument that might be used

## Slide 44: Retraining
An employee shall receive additional training (or retraining) under any of the following conditions:
2.
1. If the supervision or annual inspections indicate that the employee is not complying with the safety-related work practices
If new technology, new types of equipment, or changes in procedures necessitate the use of safety-related work practices that are different from those that the employee would normally use
3. If he or she must employ safety-related work practices that are not normally used during his or her regular job duties
Retraining shall be performed at intervals not to exceed 3 years.

## Slide 45: Emergency Response Training
Contact Release. Employees exposed to shock hazards and those responsible for the safe release of victims from contact with energized electrical conductors or circuit parts shall be trained in methods of safe release.
*Refresher training shall occur annually.
Also annually ensure CPR/AED/First Aid training is valid.

## Slide 46: What needs to be done?
Electrically Safe Work Condition. A state in which an electrical conductor or circuit part has been disconnected from energized parts, locked/tagged in accordance with established standards, tested to verify the absence of voltage, and, if necessary, temporarily grounded for personnel protection.
If workers are going to be working on or near equipment not placed in an Electrically Safe Work Condition employers must:
Perform a Shock Hazard Analysis
Perform an Arc Flash Hazard Analysis
Label panels with hazards
Provide necessary PPE and Tools
Provide Training

## Slide 48: Shock Hazard
A dangerous condition associated with the possible release of energy caused by contact or approach to energized electrical conductors or circuit parts.
Shock Hazard exists if…
Exposed bare or not effectively insulated or guarded by a fixed barrier or an earthed metal shield.
Energized considered energized until it is isolated
and proven (tested) to be de-energized and locked
out. If the part is a high- voltage conductor, it is
considered live until it is grounded.
Parts any current
carrying component of an electrical system, or any component that could become energized.

## Slide 49: Electrical Shock
The danger from electrical shock depends on
The amount of the shocking current through the body
The duration of the shocking current through the body
The path of the shocking current through the body
Can receive a ‘Shock’ if touching a…
‘live’ part and in contact with ground.
‘live’ part and another voltage level.

## Slide 50: Human Body Resistance in ohms (Ω).
Wet or broken skin may drop to 1,000 ohms…
Using Ohms Law V=I*R or V/R=I
Finger Touch in Dry Conditions:
480V/100,000ohms = 4.8mA…let go
Finger Touch in Wet Conditions: 480V/10,000ohms = 48mA… Sufficient to cause respiratory paralysis
Contact with Rubber Gloves: 480V/20,000,000ohms = .024mA…
Finger touch dry 40,000 to 1,000,000 Ω
Finger touch wet 4,000 to 15,000 Ω
Palm touch dry 3,000 to 8,000 Ω
Palm touch wet 1,000 to 2,000 Ω
NIOSH dry conditions resistance 100,000 Ohms;
1mA Tingle 10mA No Go 100mA Death

## Slide 51: Shock Hazard Analysis
Use NFPA 70E Table 130.4(E)(a) and (b) to determine SHOCK protection boundaries
Shall be performed to determine
  Voltage personnel will be exposed
  Boundary requirements
  Personal protective equipment
SHOCK APPROACH BOUNDARIES
Limited Approach Boundary:
may not be crossed by an “unqualified” person unless accompanied by “qualified” persons
Restricted Approach Boundary:
Crossed only by “qualified” persons. Using PPE, tools, and equipment appropriate for working near exposed energized parts

## Slide 52: Shock Boundaries
 | Restricted | Limited | Arc Flash
Qualified Persons | No conductive objects, rubber gloves, VR tools | OK | Arc-Rated PPE required when line is crossed.
Unqualified Persons | Not under any circumstances | Only with qualified escort | Not allowed if there is a likelihood of an event.
DistancefromExposed EnergizedParts.Distanceis basedonvoltage.
Arc Flash Boundary
Distancewhereinjuryis ‘just’a2nddegreeburn. Basedonelectricalsystem parameters;Gap,Distances, FaultCurrent,Time,etc.
42 inch Limited
12 inch Restricted
480
VAC
Arc Flash Boundary
PANEL

## Slide 54: Back in my day… No longer allowed!
Back in my day… No longer allowed!

## Slide 55: Arc Flash Hazard.
A dangerous condition associated with the possible release of energy caused by an electric arc.
An arc flash hazard may exist when energized electrical conductors or circuit parts are exposed or when they are within equipment in a guarded or enclosed condition, provided a person is interacting with the equipment in such a manner that could cause an electric arc.
Under normal operating conditions, enclosed energized equipment that has been properly installed and maintained is not likely to pose an arc flash hazard.
See Table 130.5(C) for examples of activities that could pose an arc flash hazard.

## Slide 56: Table 130.5(C)
Use this table to estimate likelihood of occurrence.
LIKELY or NOT LIKELY
Example tasks:
Operation of Circuit Breaker or Switch
Opening Panelboard hinged cover to access deadfront breakers
Voltage testing
Infrared Scans
Visual Inspections
Moving cables
Removing bolted covers
Working on exposed 125 Volts or below

## Slide 57: Arc Flash and Blast
Radiant energy explodes outward from equipment
Shrapnel up to 700 MPH
Up to 35,000°F, 3x hotter than the surface of the sun.
1.2 cal/cm2 or greater
Some ‘Typical’ Causes:
700 mph
165 db
35,000OF
Troubleshooting / Diagnostic checks performed live
Opening hinged panel covers
Removing bolted covers
Racking of breakers in and out from cubicle
Examination of insulated cable with manipulation of cable.
Signs of impending failure (electrical burn odor, sounds)

## Slide 58: Arc Flash Incident
Operating a 480 volt, 400A switch located in a 1200A panel when the switch failed and an arc-flash occurred.
Person was wearing short- sleeve cotton shirt , blue jeans, but no eye protection.
1st degree burns on hands/face.
2nd degree burn on one forearm.
Injury to eye

## Slide 59: Estimate Likelihood and Severity
The estimate of the likelihood of occurrence of injury/damage to health and the potential severity of injury/damage to health shall take into consideration the following:
The design of the electrical equipment, including its overcurrent protective device and its operating time
The electrical equipment operating condition and condition of maintenance
Note: NFPA 70E states that in most cases, closed doors do not provide enough protection to eliminate the need for PPE. Where state of the equipment is known to readily change (e.g., doors open/closed, rack in or rack-out).

## Slide 60: Additional Protective Measures
If additional protective measures are required, they shall be selected and implemented according to the ‘hierarchy of risk control’.
MostDesrabeli LeastDesirable
Eliminate,Substitute,Engineer,Awareness,Admin,PPE
When the additional protective measures include the use of PPE, determine the following:
  Appropriate safety-related work practices
  The arc flash boundary
  PPE to be used within the arc flash boundary
Two methods to determine PPE & Boundary
Incident Energy Analysis method - 130.5(G)
Arc flash PPE category method - 130.7(C)(15)
Updated when changes occur that affect the results. Reviewed for accuracy at intervals not to exceed 5 years.

## Slide 61: #1 Option…Incident Energy Analysis
Collect info about the electrical system
  Breaker/Fuse Types, Size, Settings, etc.
  Wire sizes, Type, and Quantity per phase
  Distances and Conduit Types
  Equipment ratings/nameplate information
  Panel sizes, Motor HP ratings, and more
Electrical Oneline Drawing developed
Calculations performed, Short Circuit Study, Coordination Study, Equipment Duty Report, Time Current Curves, etc.
Recommendations for Improvements.

## Slide 62: When is Arc Flash Hazard minimized?
IEEE 1584, 2002 Edition:
 4.2: Equipment below 240 V need not be considered unless it involves at least one 125 kVA or larger low impedance transformer in its immediate power supply.
IEEE 1584, 2018 Edition: Sustainable arcs are possible but less likely in 3-phase systems operating at 240 V nominal or less with an available short circuit current below 2000A.
Baseduponthemaxletthroughshortcircuitcurrentof transformersthiswouldapplyto…
  45kVAtransformerswithimpedance(%Z)>6%
  30kVATransformerswith%Z>4%
  15kVAtransformerswith%Z>2%
  Arcflashshouldbeassessedformost45kVAand largertransformers.

## Slide 63: #2 Option…”Table” Method
 Use Table 130.7(C)(15)(a) and (b) to determine PPE Level (Category) and Arc Flash Boundary.
Table is only to be used if no calculated Arc Flash Label is in place on the equipment.
Parameters of Table must be met:
 Equipment Type
Available Fault Current,
Fault Clearing Time,
Working Distance.
Refer to notes of table
We recommend Option #1… Incident Energy Analysis Method

## Slide 64: Arc Flash Equipment Labeling
Electrical equipment such as switchboards, panelboards, industrial control panels, meter socket enclosures, and motor control centers that are likely to require examination, adjustment, servicing, or maintenance while energized, shall be field marked with a label containing all the following information:
Nominal system voltage
Arc flash boundary
At least one of the following:
  Available incident energy and working distance or the arc flash PPE category in Table 130.7(C)(15)(a), (b) for the equipment but not both.
  Minimum arc rating of clothing
  Site Specific Level of PPE

## Slide 66: Types of Electrical Equipment
Table 130.7(C)(15)(a) and (b)
Panelboards or other Equipment 240V and Below
Panelboards or other equipment > 240 V and up to 600 V
600 V class motor control centers (MCCs)
600 V class Switchgear and Switchboards
Other 600 V class (277 V - 600 V, nominal) equipment
NEMA E2 (fused contactor) Motor Starters 2.3kV to 7.2kV
Metal Clad Switchgear 1kV – 38kV
Arc Resistant Switchgear
Other 1kV – 38kV equipment
DC systems 150V – 600V
Parameters:
Short Circuit Current (kA)
Fault Clearing Time (cycles or seconds)

## Slide 68: Fault Current
The amount of current delivered at a point on the system during a short-circuit condition.
A fault current is a current that leaves the intended circuit path to return to the source of supply. The term refers to an abnormal current beyond the usual range within the circuit. In the electrical industry, fault current is often referred to as short-circuit current.
Fault Current, Available. The largest amount of current capable of being delivered at a point on the system during a short-circuit condition.
Calculation

## Slide 69: Calculate Fault Current

## Slide 70: Determine Fault Clearing Time
The total time between the beginning of the overcurrent and the final opening of the circuit at rated voltage by an overcurrent protective device.
How long it takes to clear depends on amount of current and type of OCPD. Clearing time is the total of the melting time and the arcing time.
Manufacturer provides this information for their device (Time-Current Curve).
Fuses
MCCB
ICCB
LVPCB

## Slide 71: Fault Current of 30,000 amps
Arc Flash Boundary

## Slide 72: Electrical PPE
Shock Hazard PPE: Voltage-Rated Hardhats, Gloves, Blankets, Sleeves, Hot Sticks, Tools. etc.
Arc Flash PPE:
Arc-rated items. Required
when Arc Flash Boundary is
crossed and performing tasks that pose an arc flash risk.

## Slide 73: Inspect Rubber Gloves
Check: Class and Test Date
Check the test date on the glove
If using for more than 6 months DO NOT USE… electrical retest
Inspect prior to each use
  Roll the entire outside and inside surface areas between your hands
Lookforcacksingovelr
  Turn glove inside out and repeat
  Stretch/pull apart adjacent thumb and fingers to look for irregularities
  Perform blow or air test to check
for pin holes and air leaks

## Slide 74: Not Arc-Rated Poly/Cotton
39
(Exposed to
10 cal/cm2 Arc)
Arc-Rated CLASS 2 PPE
(Exposed to
10 cal/cm2 Arc)

## Slide 75: PPE - Care
Electrically Rated (Shock) Gloves
  Visual Inspection and Air Check Before Use
  Every 6 months electrically recertified
  Stored properly: never folded, take protectors off
Arc-Rated Clothing / Equipment
  Launder correctly, follow labeling
(typically cold water, separate, no fabric softeners)
  Inspect Prior to Each Use
  Check for Grease, Holes, damage, etc.
Other Equipment
  Check ratings and markings
  Inspect prior to use for damage or wear.

## Slide 76: Electrically Safe Work Condition
110.2(B) Energized electrical conductors and circuit parts operating at voltages equal or greater than 50 volts shall be put into an electrically safe work condition before an employee performs work if any of the following conditions exist:
Employee is within the limited approach boundary.
The employee interacts with equipment where conductors or circuit parts are not exposed but an increased likelihood of injury from an exposure to an arc flash hazard exists.
There are 5 exemptions to this requirement.

## Slide 77: Exceptions to the E.S.W.C.
No. 1: Normal operation where a normal operating condition exists. (i.e.Properlyinstalledand maintained,ratedforfaultcurrent,usedperlistingsand markings,coversinplace,nosignsofimpendingfailure)
No. 2: Operating a disconnect or similar to achieve an ESWC or to return equipment to service.
No. 3: Work task is infeasible in a de-energized state due to design or operational limitations. (i.e.troubleshooting,diagnostics)
No. 4: de-energizing introduces additional hazards or increased risk. (i.e.lifesupport,continuousprocess)
No. 5: Operates at less than 50 volts where there will be no increased exposure to electrical burns or to explosion due to electric arcs.

## Slide 78: Steps to achieve the ESWC
NOTIFY affected employees in the area
Determine all sources of power.
Interrupt load current and open disconnect(s).
Wherever possible visually verify all blades of the device are fully open or withdrawn.
Release stored electrical energy
Block or relieve stored non-electrical energy.
Apply Lockout Locks
Test with properly rated Meter (at point of work)
Install Safety Grounds: Where the possibility of induced voltages or stored electrical energy exists, ground all circuit conductors and circuit parts before touching them. Where de-energized parts could contact other exposed parts, apply temporary protective grounding devices.

## Slide 79: Electrically Safe Work Condition
SHUTOFF VISUAL
STOP LOCKOUT
Known Live
Target Points
Known Live
Verify Absence of Voltage (Live-Dead-Live Test) Check Meter Condition and CAT/Voltage Rating

## Slide 80: Operating Switches and Breakers
Is panel cover in place and secured?
What is condition of equipment?
Is equipment being fed from panel stopped/neutral state?
Stand to side of panel, turn face away.
If wearing arc-rated hood/shield then face panel
What Arc-Rated PPE should be used…any?

## Slide 81: Opening/Closing Breakers
Chicken Switch
Operate from distance
Remote Racking Device
From the hierarchy of risk controls this is an example of an… Engineering Control

## Slide 82: Attach Lockout Locks (devices)
Each person who could be exposed directly or indirectly to a source of electrical energy shall be involved in the lockout process and affix a lock.
A lockout procedure shall be developed, review applicable up-to-date drawings and diagrams.
Locks and identification tags installed on circuit disconnecting means. May need lockout hardware.
Control devices, such as push-buttons or selector switches, shall not be used as primary lockout points.

## Slide 83: Release Stored Energy
Electrical energy may be stored in batteries, capacitors, inductors, or other discrete electrical components. These components may be internal or external to the equipment being worked on.
Stored electrical energy may also be present in electrical cables.
Depending on the equipment or system design, it may take a considerable amount of time before the dissipation of storage energy has occurred.

## Slide 84: Test for the absence of Voltage
Test at incoming and point of work inside panel.
Wear Proper PPE
Visually inspect Panel, Multimeter and Probes (conditions and ratings)
Check Meter on known live
Test for absence of voltage between phases & phases and ground A-B, A-C, B-C, A-Gnd, B-Gnd, C-Gnd
Check meter on known live
A
B
C
A
B
C
Incoming (line-side)
Gnd

## Slide 85: Test Instruments
Ensure meters are marked and properly rated for voltage and CAT rating.
Inspect meters, probes, equipment prior to use and make sure you know how to use the meter!
Use contact type meters for 1000V or less
Systems over 1000 volts, noncontact test instruments shall be permitted to be used to test each phase conductor.

## Slide 86: Last step of the Electrically Safe Work Condition Install Safety Grounds
This step is required if there is a possibility of induced voltages or stored electrical energy exists, also systems over 600V not considered electrically safe until grounded.
Safety Grounds are not to be connected until circuits have are disconnected and tested/verified to be de-energized
Attach ground end first, then attach to equipment.
Still treat system as energized…Proper PPE and live-line tools must be used. OSHA LOI

## Slide 87: Steps to Energized Work
Energized Work
If work task meets one of the five exceptions, then ensure the following is done prior to work…
Qualified to perform havepropertraining
Justified to perform the work energized
Worktaskmeetsoneof5Exemptionsin110.2(B)
Perform Risk Assessments (shock,arc,other)
Perform Pre-Job Briefing and Planning
Determine if Energized Work Permit is needed
Proper PPE and Tool Selection
Establish Safe Boundaries Setupproperbarricades andwarnings;notifyothers

## Slide 88: Job Safety Planning and Briefing
Before starting a job that involves exposure to electrical hazards, the employee in charge shall complete a job safety plan and conduct a job briefing with employees.
Job Safety Plan shall include:
Completed by a qualified person and documented
Include the following information:
  A description of the job and the individual tasks
  Identify the electrical hazards associated with each task
  Shock risk assessment for tasks involving a shock hazard
  Arc flash risk assessment for tasks involving an arc flash Hazard
  Work procedures, special precautions, and energy source controls
Job Briefing shall cover the job safety plan and the info on the energized electrical work permit, if a permit is required.
Energized Work

## Slide 89: Energized Electrical Work Permit
When work is allowed per 110.2(B) an energized electrical work permit shall be required and documented under the any of following conditions:
When work is performed within the restricted approach boundary
When interacting with the equipment when conductors or circuit parts are not exposed but an increased likelihood of injury from an exposure to an arc flash hazard exists
Permit must contain: Equipment Description, Justification, Safe work practices, Boundaries, Necessary PPE, Job briefing, Approvals by manager, safety officer, supervisor, etc. See next Slide for Exemptions to the Permit…
Energized Work

## Slide 90: Permit Is NOT Required For…
130.2(C) Exemptions to Work Permit.
An energized electrical work permit shall not be required if a qualified person is provided with and uses appropriate safe work practices and PPE under any of the following conditions:
Testing, troubleshooting, and voltage measuring
Thermography, ultrasound, or visual inspections if the
restricted approach boundary is not crossed
Access to and egress from an area with energized electrical equipment if no electrical work is performed and the restricted approach boundary is not crossed
General housekeeping and miscellaneous non-electrical tasks if the restricted approach boundary is not crossed
Energized Work

## Slide 91
480 Volt Panel, Tightening lug inside energized panel, Wearing Arc-Rated PPE.
Is this a JUSTIFIED energized work task?
Energized Electrical Work Permit required?
Any problems you see with PPE?
PANEL AAA
9.1
70.6
0 .6
1 0
Energized Work

## Slide 92
Panelboard LP-B 277/480V
Available Fault Current 22kA
Protected By current limiting fuse with fault current within the current limiting range.
Panel feeds hazardous location ventilation equipment. Adding new breaker to panel.
‘Justified’ work task?
Permit needed?
Arc Flash PPE?
Boundaries (Arc Flash and Approach)?
Energized Work

## Slide 93: Damaged Cords  Visually inspect before use

## Slide 94: Damaged Panels and Equipment
Corrosion
Deadfront Missing Exposed Parts
Signs of Arcing
Don’t Daisy Chain

## Slide 95: Electrical Safety Summary
Properly installed, maintained, covers in place, no signs of impending failure…risk reduced.
Annual audits and training at least every 3 years.
Every 5 years re-validate analysis
Work on equipment in the Electrically Safe Work Condition, unless task meets 1 of 5 exceptions.
Arc Flash Boundary (AFB)
  Distance from the arc source that will produce a 2nd degree burn on exposed skin, equals 1.2 cal/cm2
  Once AFB is crossed must have proper Arc Flash PPE (Arc-Rated Clothing, face shield, etc.)
Shock Hazard when exposed energized parts
  Limited Approach (crossed by QUALIFIED only)
  Restricted Approach (protection required)

## Slide 96: END OF SESSION
QUESTIONS AND ANSWERS
THANK YOU!
Music: https://www.bensound.com

## Slide 97: Slides, External resources & registration can be found at www.solonchamber.com/slides
Materials will also be distributed by email after the program!

## Slide 98
October 11th
Workplace Fire Safety with Brian DiRocco, Solon Fire Rescue
November 8th
OSHA Recordkeeping with Scott Turner, Ohio OSHA